## Slide 1
🔥
IoT PROJECT
FireWatch IoT
Real-Time Multi-Node Fire & Hazard Detection System
Detect. Alert. Protect.
3 NODES
MQTT
~200ms
TELEGRAM
College IoT Project Presentation

## Slide 2
Problem Statement
Why FireWatch?
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
2
⚠️
Traditional systems
fail to protect
lives & property
There is a better way →
❌
Single-Sensor & Reactive
Traditional detectors rely on one sensor — no correlation, no smart analysis
📡
No Remote Monitoring
No real-time access from mobile or web — residents have no situational awareness
🔗
No Multi-Sensor Correlation
Each alarm acts independently — false alarms are common, real ones missed
⏱
Late Alerts Cost Lives
Delayed notifications give residents less time to evacuate safely
💡
Need: Intelligent IoT Solution
Connected, multi-point, real-time detection with automated alerting

## Slide 3
Project Overview
FireWatch IoT System
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
3
FireWatch IoT is a distributed IoT system that uses multiple sensor nodes,
communicates over MQTT, and delivers real-time alerts to protect lives.
01
📡 3 Sensor Nodes
Gas, Temperature, and Motion nodes for complete environmental monitoring
02
🔁 MQTT over Wi-Fi
Lightweight pub-sub protocol on broker.hivemq.com for real-time comms
03
📊 Live Web Dashboard
Standalone HTML/JS dashboard with live gauges, event logs, CSV export
04
📱 Telegram Alerts
Automated bot messages to residents with sensor readings and location
05
⚡ Edge Computation
Auto-calibration, rate-of-change detection, local buzzer/LED actuation
06
🔒 LWT & Control
Last Will & Testament for auto-offline status + dashboard control commands

## Slide 4
System Block Diagram
Architecture Overview
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
4
SENSOR LAYER
COMM LAYER
APP LAYER
Gas Detection Node
ESP32 + MQ-6
Temperature Node
ESP8266 + DHT11
Motion Detection Node
Pico W + PIR HC-SR501
Wi-Fi / MQTT
MQTT Broker
broker.hivemq.com
fw2352/gas · fw2352/temp · fw2352/motion
WebSocket
📊 FireWatch Dashboard
HTML / JS
📱 Telegram Bot API
Auto Alert →
👥 Operator / Residents
Notified & Protected
MQTT Control: Reset / Arm-Disarm

## Slide 5
Hardware Components
Bill of Materials
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
5
Node | Hardware | Sensor
🔴 Gas Node | ESP32 Dev Module | MQ-6 (Analog ADC)
🟠 Temp Node | NodeMCU ESP8266 | DHT11 (Temp + Humidity)
🟡 Motion Node | Raspberry Pi Pico W | PIR HC-SR501
Common Components (All Nodes)
📶 Wi-Fi 2.4 GHz
📨 MQTT Protocol
⚡ 5V Power Supply
🔊 Active Buzzer
💡 Status LEDs
📟 MQTT Dashboard

## Slide 6
System Architecture
3-Layer IoT Model
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
6
01
🔭
Perception Layer
▸ ESP32 + MQ-2 Gas Sensor
▸ ESP8266 + DHT11 Temp/Humidity
▸ Pico W + PIR Motion Sensor
Physical sensor nodes collect real-world environmental data at the edge
02
🌐
Network Layer
▸ Wi-Fi 2.4 GHz connectivity
▸ MQTT Broker (HiveMQ public)
▸ WebSocket for dashboard bridge
Lightweight MQTT protocol relays sensor data in real-time to subscribers
03
📲
Application Layer
▸ FireWatch Web Dashboard
▸ Telegram Bot notifications
▸ Operator response & control
Dashboard visualizes live data; Telegram alerts notify residents instantly

## Slide 7
Edge Computing at the Node
Smart Processing Locally
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
7
⚡ Edge Computing: Processing data locally on the device — not in the cloud. Enables faster response, lower latency, and offline operation.
ESP32 — Gas Node
✓ 30-second auto-calibration at boot
✓ Rate-of-change detection (spike = emergency)
✓ Delta-based conditional publish
✓ No unnecessary MQTT traffic
ESP8266 — Temp Node
✓ Heat index computation (temp + humidity)
✓ Threshold alerts for critical temps
✓ Sensor health monitoring
✓ MQTT status reporting
Pico W — Motion Node
✓ Motion frequency analysis
✓ Events-per-minute tracking
✓ Arm / Disarm via MQTT control
✓ Activity pattern detection
🔊 All Nodes: Local buzzer & LED actuation — works even without internet connectivity

## Slide 8
Dashboard Features
FireWatch Web Interface
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
8
🔥 FireWatch IoT Dashboard
GAS
342 ppm
TEMP
38.2°C
MOTION
ACTIVE
🚨 ALERT: Gas Leak Detected — Node 1 (ESP32) [Acknowledge]
Event Log
14:22:01 GAS node online — 342 ppm
14:21:55 Motion detected — Pico W
14:21:40 TEMP 38.2°C — ESP8266
● Node 1 ONLINE ● Node 2 ONLINE ● Node 3 ONLINE [Export CSV]
📊 Live Sensor Gauges
Needle gauges for gas, temp, motion with real-time updates
🚨 Alert Banners
Auto-display on threshold breach with Acknowledge button
📢 Broadcast Alerts
Push notifications to residents with custom messages
📝 Event Log + CSV
Full event log with CSV export for offline analysis
📡 Node Status
Online/Offline status per node using MQTT LWT
🎮 Demo Mode
Simulate sensor events for testing & presentation

## Slide 9
MQTT Communication Protocol
Messaging Architecture
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
9
MQTT: Lightweight publish-subscribe messaging protocol for IoT — broker.hivemq.com | QoS Level 1 (at least once delivery) | LWT: Auto-offline on disconnect
Topic | Direction | Publisher | Description
fw2352/gas | ↑ Publish | ESP32 | Gas sensor readings + alert status
fw2352/temp | ↑ Publish | ESP8266 | Temperature, humidity, heat index
fw2352/motion | ↑ Publish | Pico W | Motion events, frequency per minute
fw2352/status | ↑↓ Both | All Nodes | Online / Offline status (via LWT)
fw2352/control | ↓ Subscribe | Dashboard | Send reset / calibrate commands
fw2352/cmd/motion | ↓ Subscribe | Dashboard | Arm / Disarm motion node

## Slide 10
Alert System
3-Tier Notification Architecture
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
10
TIER 1
🔊
Local Alerts
▶ Buzzer on device
▶ LED indicator (Red/Green)
▶ Instant — no internet required
▶ Independent per node
TIER 2
📊
Dashboard Alerts
▶ Real-time alert banner
▶ Resident broadcast message
▶ Acknowledge button
▶ Full event log entry
TIER 3
📱
Telegram Alerts
▶ Automated message to residents
▶ Sensor readings included
▶ Location & timestamp
▶ < 2 second delivery
Alert Types
🚨 Gas Leak Warning
🔥 Fire / Critical Temp
👁 Motion Detected
⚡ Multiple Hazards

## Slide 11
Results & Demo
System Performance
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
11
~200ms
End-to-End Latency
Sensor → Dashboard
< 2s
Telegram Alert Time
Detection → Notification
3
Sensor Nodes
Simultaneous Monitoring
100%
Test Success Rate
All scenarios passed
Test Scenarios — Verified ✓
✓ PASS
Gas Leak Simulation
MQ-2 triggered within 5s, Telegram alert sent in 1.8s
✓ PASS
High Temperature Event
DHT11 detected 38°C+ heat index, dashboard banner activated
✓ PASS
Motion Detection
PIR HC-SR501 detected motion, broadcast alert to residents
✓ PASS
Node Offline (LWT)
Auto-status update to dashboard within 2 MQTT keep-alive cycles
✓ PASS
Gas Auto-Calibration
30s baseline eliminates false positives in ambient conditions
✓ PASS
Multi-Hazard Correlation
Gas + Temp simultaneous trigger — combined alert issued

## Slide 12
Future Enhancements
Roadmap
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
12
v1.1
🔥 Flame Sensor
IR-based instant flame detection for faster response
v1.1
💨 CO Sensor (MQ-7)
Carbon monoxide detection for complete gas coverage
v1.2
🗄 Firebase / InfluxDB
Historical data storage and time-series analysis
v1.2
📡 OTA Firmware Updates
Over-the-Air updates to all nodes without physical access
v2.0
📈 Grafana Dashboard
Advanced visualization and time-series charting
v2.0
🤖 ML Anomaly Detection
TensorFlow Lite on-device learning for pattern detection
v2.0
📲 Mobile App
Native iOS/Android with push notifications and controls

## Slide 13
🔥
Conclusion
✅ FireWatch IoT successfully demonstrates a scalable multi-node IoT system
⚡ Edge computing reduces latency and cloud dependency for faster local response
📡 MQTT enables lightweight, real-time communication across all nodes
🔔 Integrated 3-tier alerting ensures residents are notified instantly
🔧 Modular architecture allows seamless expansion with new sensor nodes
Detect. Alert. Protect. 🔥

## Slide 14
References
Sources & Libraries
🔥 FireWatch IoT — Real-Time Fire & Hazard Detection System
14
01
MQTT Protocol Specification
mqtt.org — Official specification for MQTT v3.1.1 and v5.0 messaging protocol
02
ESP32 Arduino Core
github.com/espressif/arduino-esp32 — Espressif's official Arduino support for ESP32 microcontrollers
03
PubSubClient Library
github.com/knolleary/pubsubclient — MQTT client library for Arduino by Nick O'Leary
04
HiveMQ Public Broker
broker.hivemq.com — Free public MQTT broker for testing and prototyping IoT projects
05
Telegram Bot API
core.telegram.org/bots/api — Official API for creating automated Telegram bots with HTTP interface
06
DHT Sensor Library
github.com/adafruit/DHT-sensor-library — Adafruit's DHT11/DHT22 sensor library for Arduino and ESP platforms